## Cover Page
APPROVED
MATERIALS/Vendors LIST
REVISION 10
FEB. 2026

## By Site
S.No | Item/service | Minimum Required Qualifications
A13.a | Sign Boards | 1) Saudi Manufacturer 2) Qualified with Government Institutions and National Companies
A14.a | EPDM Rubber Bumper
A10.a | Ladders, Handrails and Metallic Accessories
A7.a | Ceramic Tiles and Porcelain Tiles, Terrazzo Tiles, Quarry Tiles for Floor
A4.a | Stones: Granite / Marble / Marble chips & its Base powder, Granite Accessories; Riyadh Stone, …etc.
A3.a | Readymix Concrete, Concrete Masonry Units & Plastering Accessories
A2.a | Curb Stones, Interlock Pavers, Concrete Pavers and Wheel Stoper
A8.b | Gypsum / Cement Board
S1.a | LABORATORIES
S6.b | PRECAST MEMBERS
R1 | Traffic Signal, UTC, UPS System, Traffic Control
R2 | Thermoplastic Road Markings Mat'ls & Road Safety Products, Reda Guardrails
R3 | Ceramic Road Markers - Reflective and Non Reflective

## Architechtural M.L
S.No | Item/service | Supplier/Vendor
A1 | Insulation work
A1.a | Polyethylene / PVC Extruded Polystyrene / Waterproofing / Vapor Retarder / Stop, Thermal & Water insulation, Rockwool insulation, Geotextile, Bituminous Coating & Expansion Joints Filler Boards | Saudi Rockwool Co
National Rockwool Insulation
Wamco
Al Watania Plastic
Isam Kabbani & Partner
Unitech
Sika
Sation Co
Insuwarp
ACC
A.A.Turky
Al Jazeera
Atiaf Factory for paints industry (National Paints)
Awazel Acc
Bytomat
Bin Tamy
Torky
M.B.T
Fosam
Alyaf
Binex
Dermabit
Unitech
Bitumat
ATCO
A1.b | Fire Stop Sealant | Al-Muhidab Building Tech.
Fosam Company Ltd
Al Jazeera Paints
Basf
A3 | Block work
A3.b | Autoclaved aerated concrete (AAC) | Siporex
Espac
A3.c | Glass Block | Pamas Est.
Sanda
Batra
Arabian Roots
A4 | External Finishing
A4.b | GRC / Precast Clading | Bahra Precast Factory (Binladin)
Station Co. GRC
Esam kapany
Precast Concrete Co. (Rabigh -Binladin )
IZOMAKS Industrials L.L.C
Gwaem Precast Concrete Co. (GPC)
A5 | Painting
A5.a | Painting, Epoxy Painting | Hempel
Saudi Ind. Paint (SIPCO)
Skeip
Sigma
Dyrup
Saudi Paint Co Ltd ( Paintco )
BBC
Jotun
Al Jazera Paints
Sherwin Williams
National Paint
A6 | Doors and Windows
A6.a | Aluminum, Glass and Skylight | AGC Obeikan
Alma
ALMANCO
Lada
Nafco
Cladtech
Alfanar Aluminum
Cube Metal Industries
Sanabel Aluminum Co
Al Saher Aluminum Factory
Arc Glass
Dreametal
A6.b | Wooden Doors, Frames & HPL | M.Binladin Wood Work Factory
Fahad Trading and Decoration Est.
United Wood Products
Rama
Faden
Lamar
Woodroc
Romeo
Arabian Wood Works
Al Kuhaimi Wood Industries.
Al-Manashy Doors Factory
A6.c | Toilet Partition and Toilet Doors | Gibca Furniture Ind. Co
Bayt al Riyadh
Home Art
lada
Perfect Door
Khalid Marble Factory
ACCT
A6.e | Door Hardware and Lockers | Yale
CES
TESA
FORMR
ERANZO
ORO & ORO
EMPERIO
VALLI & VALLI
CONFEX
A6.f | Metal Doors and shutter doors | Al Kuhaimi Metal Ind. Co
Al fanar
Rama
Sanabel Aluminum Co
Al Muhaidib Metal Ind. Co
Al Derees Industries Co. (ALITCO)
Anfal
Al Zamil
Almousa
Rollic
Randa
Metalcon ( Middle East )
Baaqeel for Automatic doors
Architectural doors factory ( Dakkah )
Al-Manashy Doors Factory
A7 | Flooring Materials
A7.b | Carpets | AL Sorayai
Al Abd alateef
Bahlas
A7.c | Vinyl Flooring | Dar Flex
AL Sorayai
Fosam
Forbo

## Structural M.L
S.No | Item/service | Supplier/Vendor
S2 | REINFORCEMENT STEEL
S2.a | REINFORCEMENT STEEL | Abdul Latif & Mohd. Al Fawzan Co
SABIC Steel
Al-Rajhi Steel
Saudi Rebar Co Ltd
Al-Yamamah
Al-Fouzan Steel
Rashed AbdulRahman Al Rashed Sons
Absal Trading & Contracting Co Ltd
Solb Steel Company
Tameer Steel
Al ittefaq Steel Productions CO
S2.b | REBAR COPLING SYSTEM | High Build Co
MAGO
S4 | CEMENTITIOUS / ADMIXTURE & ADHESIVE MATERIALS
S4.a | CEMENTITIOUS / ADMIXTURE & ADHESIVE MATERIALS | Fosam Co Ltd
JAZEA For Construction Chemicals (JCC)
CIC Construction Chemicals
Sika
BASF
FOSROC
Erkki Chemicals
WAMCO
Sodamco
CMIC Construction Material
Binex
Fosam Company Ltd
CMCI
Saveto
Sodamco
Inpro Corporation SMC
Al Muhaidib
Hinkel
Al Amar
Arki
Conmix Saudi Arabia Co. Ltd
Al Jazeera
Al Fanar
BMC
ABSAR
Hazem
ATCO
UNITECH
Dermabit
Bitumat
S5 | STRUCTURAL STEEL
S5.a | STEEL STRUCTURE ELEMENTS / Pre-Engineered Buildings (PEB) / Steel Structures | Al Zamil Steel
Al Mabani
Butler KSA
IBSF
Arabian International Company for Steel Structures (AIC)
Kirby
Al-Shahin For Metal Industries
S5.b | EPOXY COATING FOR STEEL | Hempel
Fosam
Sodamco
S6 | PRECAST ELEMENTS
S6.a | PRECAST MEMBERS (PRESTREESED) | Al-Rashed
Bin Dayel
Bahra Precast Company
Al-Fanar
S7 | MANHOLE AND CATCH BASINS COVERS
S7.a | DUCTILE & CAST IRON MANHOLE COVERS / CATCH BASINS COVERS | JDFF
Saudi Pipe System (SPS)
Safi Company for Advance Water & Power Technologies / Riyadh Foundry Co
Saudi cast
Al-Kharj United For Casting (UKC)

## Mechanical M.L
S.No | Item/service | Supplier/Vendor
M1 | PIPES & FITTINGS
M1.a | HDPE Pipes & Fittings | SPS (SAUDI PIPE SYSTEMS CO.)
AMIANTIT
NATIONAL FACTORY FOR PLASTIC INDUSTRY (NFP)
NEPROPLAST
ALWASAIL INDUSTRIAL CO.
AL MANAR Pipes
JEPICO (JAZIRA POLYETHELENE PIPE FACTORY)
AL MUNIF PIPES
TALDEEN PLASTIC SOLUTIONS
SAPPCO (SAUDI PLASTIC PRODUCTS)
UNION PIPES INDUSTRY
M1.b | GRP Pipes & Fittings | SPS (SAUDI PIPE SYSTEMS CO.)
AMIANTIT
AL MUNIF PIPES
FUTURE PIPE INDUSTRIES (FPI)
T. Nagadi Pipe Factory
ADVANCE PIPING SOLUTION (Saudi)
M1.c | Ductile Iron Pipes & Fittings | SPS (Saudi Pipe Systems Co)
Amiantit (SADIP)
RVK
Gulf Meters Factory Company (KSA)
JDFF (KSA)
M1.d | PPR Pipes & Fittings | TAHWEEL PIPES
PLASCO
AL MANAR Pipes
AL MUNIF PIPES
M1.e | U-PVC Pipes & Fittings | SAPPCO (SAUDI PLASTIC PRODUCTS)
NEPROPLAST
APLACO
AL MUNIF PIPES
SIP (SAUDI INDUSTRIES FOR PIPES CO.)
NATIONAL FACTORY FOR PLASTIC INDUSTRY (NFP)
Al Watania Plastic
NATIONAL KHAM PLASTIC FACTORY (NKP)
ASSPCO AL-OLA FACTORY FOR PLASTIC PIPES (KSA)
AL MANAR Pipes
PLASCO
FABCO PLASTIC FACTORY CO. LTD
M1.f | Steel Pipes & Fittings | SSP (SAUDI STEEL PIPE)
INTERPIPE STEEL
NEXUS ALLOYS (SST. Pipes & Fittings) (INDIA)
NKK STEEL (JAPAN)
M1.h | Solvent Cement for Jointing of PVC Pipes & Fittings | AGM
COSMOPLAST (UAE)
APLACO
FIXWELL
M2 | TANKS & PRESSURE VESSELS
M2.a | GLS TANKS | OMERASTORE (GERMANY)
PERMASTORE (UK)
GLS TANKS (AUSTERIA)
CST (USA)
M2.b | GRP Water Storage Tanks | AMIANTIT (KSA)
ECO CLEAR
SAUDI FIBERGLASS (KSA)
AL MUHAIDAB NATIONAL TANKS (KSA)
M2.d | STEEL TANKS & PRESSURE VESSELS | NESMA HAVATEK
OLAYAN DESCON
MOHAMMED ALMAJAL GROUP (MMG)
AI ZAMIL HEAVY INDUSTRIES LTD
BILFAL HEAVY INDUSTRIES LTD.
GULF HEAVY INDUSTRIES CO. (GHI)
SKB
M2.e | SURGE TANKS | CHARLATTE RESERVOIRS (ABUNAYYAN) (FRANCE)
FLO-DYNE (UK)
HENRIQUESS AND HENRIQUES (H&H)
NATIONAL STEEL FAB. LLC
TSM ARABIA
M2.f | CARBON STEEL PRESSURE SAND FILTERS & MULTIMEDIA FILTERS | WETICO
VEOLIA
AES ARABIA LTD.
ALKAWTHER INDUSTRIES LTD.
M2.g | GRP & FRP PRESSURE SAND FILTERS & MULTIMEDIA FILTERS | PENTAIR (USA)
HYDROTECH (USA)
FLUYETEC (SPAIN)
M2.h | CARTRIDGE FILTER HOUSING | FAM (ITALY)
FLUYETEC (SPAIN)
FIL-TREK (CANADA)
EUROPEAN FILTER SOLUTION (UK)
M3 | ROTATING EQUIPMENT
M3.a | Air Blowers / Air Compressors | Gardener Denver
APG‐Neuros
Aerzen Gulf LLC
Siemens Limited (Turblex)
MAPNER (MAPRO)
INGERSOLL RAND
ROBUSCHI
TSURUMI
GARDNER DENVER
M3.b | AIR DIFFUSERS & AERATION EQUIPMENT | Supratech,c/o Adoset Trading Oil Services Est.
Dryden Aqua Ltd (UK)
HYDRO-CHECK (USA)
SUPRATEC (GERMANY)
EDI (UK)
DIFFUSED GAS TECHNOLOGIES (USA)
M3.c | AERATORS & AIR INJECTORS | MAZZEI INJECTORS (USA)
TSURUMI (JAPAN)
AERATION INDUSTRIES INT. (USA)
AQUA SYSTEMS INT. (BELGIUM)
AERATOR SOLUTIONS (USA)
AQUA MASTER (USA)
M3.d | PUMPS | GRUNDFOS (DENMARK)
KSB (GERMANY)
Sulzer
FEDCO PUMPS (USA)
TSURUMI (JAPAN)
FLYGT (SWEDEN)
IDEAL PUMP (SPAIN)
EBARA (JAPAN, ITALY)
XYLEM (USA)
ARMSTRONG (USA)
AURORA (USA)
WILO (GERMANY-USA)
M3.e | CHEMICAL DOSING PUMPS | LMI (USA)
PROMINENT (GERMANY)
ALLDOS (UK)
GRUNDFOS (DENMARK)
JESCO (GERMANY)
MILTON ROY (USA)
PULSATRON (USA)
M3.f | General Purpose Mixures & Submersible Mixers | MISCELATORI SOMMERGIBILI (ITALY)
LIGHTNIN (SPX) (USA)
FLYGT (SWEDEN)
MILTON ROY (USA)
M3.h | MOTORS | Hyundai Electric & Energy System Co (Korea)
ABB
GE Energy Power Conversion SAS
TOSHIBA INTERNATIONAL INC (USA)
WEG EQUIPAMENTOS ELETRICOS S.A.(Brazil)
SIEMENS ENERGY AND AUTOMATION
WILO (GERMANY-USA)
M4 | VALVES AND ACCESORIES
Valves for infrastructure
M4.a | Isolation Valves | AVK saudi valves (KSA)
JDFF Ductile Fittings Factory (KSA)
Gulf Meters Factory Company (KSA)
SPS (KSA)
M4.c | Air Valve | VAG (GERMANY)
AVK saudi valves (KSA)
ECONOSTO (NETHERLANDS)
HAWLE / OZKAN (GULF ABRAM TRADING CO. LTD.)AUSTRIA/ TURKEY
Gulf Meters Factory Company (KSA)
SPS (KSA)
VALVOTUBI - (GULF METER FACTORY) - (ITALY)
M4.d | Non return valve | AVK saudi valves (KSA)
JDFF Ductile Fittings Factory (KSA)
Gulf Meters Factory Company (KSA)
SPS (KSA)
M4.e | Penstocks | VAG (GERMANY)
Al Kuhaimi’s Penstocks (KSA)
WATERMAN INDUSTRIES* (EGYPT)
M4.g | Flow meter | Siemens Limited
VAG (GERMANY)
KROHNE (GERMANY)
DIEL METERING (ABU NAYYAN) (GERMANY)
ABB
ENDRESS & HAUSER (SWITZERLAND)
M4.h | Surge Control Valves | SINGER VALVE INC. (CANADA/ USA) - (WETCO)
BERMAD Global & Subsidiaries
AVK saudi valves (KSA)
M5 | FIRE FIGHTING COMPONENTS
M5.a | Fire Hydrants | AVK saudi valves (KSA)
Gulf Meters Factory Company (KSA)
JDFF (KSA)
Saudi Pipe Systems Co. SPS (KSA)
SFFECO (KSA)
M5.b | Fire hose cabinets (inside &outside building) | SFFECO (KSA)
Naffco (KSA)
Heba (KSA)
M5.c | Valves for fire fighting(UL Listed,FM Approved) | MULLER (USA)
Mech
Victaulic
AVK saudi valves (KSA)
Giacomini (ITALY)
M5.d | Portable Fire Extinguishers | SFFECO (KSA)
Heba (KSA)
Al Sabeh (KSA)
M5.e | Fire fighting Sprinklers | Lifco (UK)
Globe (USA)
Viking (USA)
M5.f | Firefighting Special System (FM200, Novec 1230 Foam system, CO2 system, Kitchen hood suppression system, etc) | SFFECO (KSA)
Naffco (KSA)
Heba (KSA)
Samara (KSA)
Arabian Contractor (KSA)
Volcano (KSA)
M6 | CRANES
M6.a | Electrical OverHead Cranes | Riyadh Cranes Factory Company (KSA)
Etihad Cranes (KSA)
SAUDI Cranes (KSA)
M7 | PLUMBING FIXTURES AND COMPONENTS
M7.a | Electric water heater | Saudi ceramics (KSA)
A.O.Smith
Al Gawda
American
M7.b | Hot water pipes thermal insulation | Afico
Izocam
Kimmco
M7.c | Mixers for Washbasins and showers,Angle valve | American standared
Grohe
Hansa Grohe
Ideal standared
Daniel
M7.d | Janitor sink | American standared
Zurn
Akron
M7.e | Valves and accessories for domestic water supply,irrigation,chilled water system | NIBCO (USA)
Pegler (UK)
Herz (UK)
Econosto (Netherland)
Oventrop (USA)
Crane (USA)
M7.f | Hand Spray (shataf),P-trap for counter lavatory | Grohe
Daniel
Ideal standared
Kottmann
Kohler
Hans Grohe
M7.g | WC,Handicapped WC,Private lavatory | Kohler
Saudi ceramics
American Standard
Geberit
Valary &Boche
M7.h | Flush valve (concealed /exposed) | Zurn
Sloan
Geberit
M7.i | Drainge Accessories (Spout nozzle for rain water,Roof drain & vent cap,Floor drain &cover,heavy duty floor drain, gully trap,Floor clean out) | Saudi Cast
Jr smith
Zurn
Hamada
Riyadh foundry
M7.j | Irrigation Networks Equipment's | Hunter industries (USA)
Rainbird (USA)
M8 | HVAC
M8.a | Ventilation Fans | Cook
Greenheck
Expelair
Saudi fan
M8.b | AC units(Split-Package) | York
Trane
Carrier
Al Zamil
SKM
M8.c | AC units(Chillers-AHU-FCU) | York
Trane
Carrier
Al Zamil
M8.d | Chemical dosing unit for chilled water system | Veolia Water & Solutions Technology
AES
Culligan
Metito
M8.e | Air terminals and grilles | GGC
MetalAIR
Rabie al Takyeef
M8.g | Duct thermal insulation | AFICO
Izocam
KIMMCO KUWAIT
M8.h | Plenum box | SAFID
GGC
Rabie al Takyeef
M8.i | Vibration isolator for HVAC equipment | Weico
Kinetics
Mason
M8.j | Copper tube | Muller (USA)
Cambridge Lee
Yorkshire
M8.k | Insulation for copper tube | Kflex USA
Kaiflex
Armaflex
M8.l | Chilled water pressurization unit | Flamco
Reflex
Taco
M9 | MISCELLANEOUS
M9.a | Fuel oil piping and fittings | NKK
SSP
Interpipe
M9.b | LPG system | Saudi mas
Hajer trading&manufacturing
Dar al-aanab
Rawafid
WTP / MBR SYSTEMS & WWTP HEADWORKS
M9.c | RO MEMBRANES | TORAY
KOCH
TRISEP
FILMTEC
GENERAL ELECTRIC (GE)
M9.d | RO PRESSURE VESSELS | CODELINE
BEL
WAVE CYBER
PROTEC
PHOENIX
HARBIN
M9.e | UV Sterilizer | SANITRON
STERILIGHT
HANOVA LTD (UK)
M9.f | WWTP HEADWORKS | SMITH & LOVELESS (USA)
PARKSON CORPORATION (USA)
ASHBROOK SIMON-HARTLEY (UK)
COSME (ITALIAN)
HUBER TECHNOLOGY (USA)
ANDRITZ (AUSTRIA)
M9.g | MBR SYSTEMS | KUBOTA (JAPAN)
TORAY (JAPAN)
OVIVO (FRANCE)
M9.h | Progressing Cavity pumps-centrifuge feed and for thickener -Polymer Feed Pumps | Moyno, Inc., c/o Al Aswad Trading & Contracting.
Monoflo, c/o Saudi Pumps Factory
Arabian Pumps Company
M9.i | Centrifuge Package and dewatering system | Alfa Laval Middle East
Vitone -GEST
Andritz, c/o Adoset Trading Oil Services Est.
GEA Process Engineering Middle East

## Electrical M.L
S.No | Item | Supplier Name
E1 | RACEWAYS
E1.a | EMT/RSC CONDUITS - Hot dip galvanized conduit & Accessories, fittings and fixing element. | ITCC
TABALSA
SAUDI ELECTRIC SUPLLY COMPANY (SESCO)
SAUDI STEEL PIPE (SSP)
UNITECH
E1.b | LIQUIDTIGHT FLEXIBLE CONDUIT protection against liquid and moisture, resistance against sunlight, heat, and oil | Deer
3M KSA
T&B
E1.c | METAL FLEXIBLE CONDUIT - Hot dip galvanized zinc coating; UL Listed & Fittings/accessories. | ALBABTIN
Essam Kabbani
Al-Amal Cable Tray Factory
FAZ Al-jazeera
E1.d | CONDUITS & FITTINGS & Accessories for PVC | SAPPCO (SAUDI PLASTIC PRODUCTS)
NEPROPLAST
SAUDI HEPCO LLC
APLACO
AL MUNIF PIPES
SIP (SAUDI INDUSTRIES FOR PIPES CO.)
NATIONAL FACTORY FOR PLASTIC INDUSTRY (NFP)
NATIONAL KHAM PLASTIC FACTORY (NKP)
ASSPCO AL-OLA FACTORY FOR PLASTIC PIPES (KSA)
MK Cable Management
PLASCO
E1.e | CABLE TRAY, CABLE LADDERS & CABLE TRUNKING- Heavy duty Hot DipGalvanized Steel. | KHEREIJI (KHEREIJI (KHEREIJI (KSC)))
MISBAH
BAAMER
Isam qabani
ASIBEX
FAZ Al-jazeera
Al-Amal Cable Tray Factory
E2 | WIRE AND CABLE - 600/1000 VOLT AND BELOW (LV CABLES)
E2.a | THW/ THHN, Gasoline and Oil resistant Multi / Single Core Soft drawn Stranded Cu/Al with XLPE/ PVC insulation; armoured (SWA)/ unarmoured cable and bare copper for grounding system. | RIYADH CABLES
SAUDI CABLES
Elsewedy
ELETRA CABLES
Bahra Cables
JEDDAH CABLE Company
ALFANAR
Energy Wires & Cables
Red Sea Cables
E2.b | Fire Resistant & Low Smoke Cable (LSFOH 0.6/1KV ) | BAHRA CABLES
MESC
RIYADH CABLES
ALFANAR
Red Sea Cables
E2.c | L.V.KITS & Splices Heat Shrinkable termination, copper sleeves & Accessories | RAYCHEM
3M KSA
ALOJAIMI FACTORY
ELSEWEDI
Power & Telecommunication Equipment Factory (P.T.E.Co.) (CEPCO)
E2.d | Control Cables & Fiber Optic Cables | SAUDI CABLES
RIYADH CABLE
ALFANAR
BAHRA CABLE
JEDDAH CABLE Company
Elsewedy CABLES
ENERGYA Wires & Cables
ELETRA CABLES
MESC KSA
Riyadh Telephone Cables Co.
Middle East Optic Fiber & Cable Manufacturing Co.(MEFC)
Middle East Specialized Cable (MESC)
ADC
E3 | MV CABLE
E3.a | - Multi / Single Core Soft drawn Stranded Copper conductor with XLPE/ PVC insulation; watertight; armoured (SWA)/ unarmoured cables. - 3Cx500 & 3X 400 Sqmm Soft drawn Stranded Aluminum conductor with XLPE/ LLDPE /PVC insulation; watertight; UNarmoured cables. Suitable for 13.8kV & 33 KV network | RIYADH CABLES
SAUDI CABLES
Energya Wires & Cables
Elsewedy
BAHRA CABLES
JEDDAH CABLE Company
ALFANAR
Red Sea Cables
E3.b | MV KITS & SPLICES - Heat Shrinkable terminations; Shrink Fit terminations; Pre- fabricated terminations; Plug- in type terminations | RAYCHEM
3M KSA
Alojaimi Factory
ELSEWEDY
Energya Wires & Cables
E3.c | Overhead Lines Conductors MV network | Midal Cables
Saudi Cables
Bahra Cables Co
Elsewedy Cables
Energya Wires & Cables
ALFANAR
RIYADH CABLES
JEDDAH CABLE COMPANY
E4 | LV CABLE & MV CABLE FITTINGS.
E4.a | GLANDS & LUGS - Screw or compression type; Glands (brass) & Lugs (copper) | AXIS
ALOJAIMI FACTORY
ELSEWEDI
BAAMER ELECTRIC
Al Khalifah Factory For Metal Industries
Advance Technical Solutions (MATCO )
TENAS
CHINT COMPANY
E5 | BOXES & FITTINGS
E5.a | BACK & JUNCTION BOXES - Hot dip galvanized steel; UL Listed; for dry or wet area, fittings & accessories. | STEEL CITY/ RACO/ OZ-GEDNEY
AL ABDULKARIM
Electric House
ALFANAR
CHINT COMPANY
E5.b | FLOOR BOXES -variable nos. of RACEWAYS compartment; self closing lid; can withstand 5000N load; simple installation floor boxes. | AL BABTAIN
AL FANAR
KHEREIJI (KSC)
CHINT COMPANY
E6 | WIRING DEVICES
E6.a | General sockets, Heavy duty industrial type ,Switches, Switched power socket, … etc. - GFCI at wet locations | GE
Schneider / GET
ABB
Bticino
MK
Albany Range with BSS Type S.S.(304)
LEGRAND (MOSAIC- ARTEOR-SYNERGY)
ALFANAR
E7 | UNIT SUBSTATION
E7.a | UNIT SUBSTATION – with RMU, Oil Type Transformer; SF6 arc quencher/ insulation; Low Voltage PanelboardSaudi Lucy Co | WESCOSA
Al-Ojaimi Factory
ALFANAR
ABB
STC
UTEC
Schneider Electric
EPS/M&G
TIEPCO
Saudi Lucy Co
RAWABI
Lucy Switchgear Arabia
META
TENAS
Electrical Panel Boards & Package Substations Factory
CHINT COMPANY
E7.b | Dry type transformer for indoor type. | ATC
STC
Wescosa
ALFANAR
CHINT COMPANY
E7.c | Pole mounted Transformer | STC
Wescosa
ABB
ALFANAR
E8 | GENERATOR
E8.a | Diesel powered engine; radiator or heat exchanger cooling system, alternator ; with daily/monthly fuel tank; additional battery charger including fuel system & fuel pump. | MITSUBISHI ELECTRICAL SAUDI LTD.(OMACO)
KOHLER
CUMINS
CATTERPILLER
PERKINS
LEGRAND
Schneider Electric
EATON
E9 | AUTOMATIC TRANSFER SWITCH
E9.a | ATS with microprocessor controller. | Schinder
ALFANAR
Saudi Panels & Breakers Manufacturing Co.
Effective Power Factor
ABB
E10 | UNINTERRUPTED POWER SUPPLY (UPS)
E10.a | Voltage Freq. Independent, 0.98 PF, small footprint, low input current harmonics; with IGBT (converter/ inverter) control & batteries. | GE
LIEPARD
ABB
Schnidre
CHLORIDE
BORRI-INFOSEC
Saudi Panels & Breakers Manufacturing Co.
LIEBERT
E11 | METAL ENCLOSE MV SWITCHGEAR
E11.a | MV SWITCHGEAR - Drawout and fixed type, ACB/MCCB circuit breakers/ switches; digital meter, C.T... etc.; BMS control and monitor provision, complete with all accessories | Rawabi Electrical Company
ALFANAR
SAUDI LUCY
ABB
SIEMENS LIMITED
Schneider Electric
CHINT COMPANY
E12 | METAL ENCLOSED BREAKER SWITCHGEAR FOR M.V.
E12.a | RING MAIN UNIT - Load break switch (LBS); Vacuum or SF6 arc quencher/ insulation | ALFANAR
ABB
SIEMENS LIMITED
Schneider Electric
SAUDI LUCY
Rawabi Electrical Company
CHINT COMPANY
E13 | LOW VOLTAGE SWITCHBOARDS -600V & Below
E13.a | LV SWITCHGEAR - Drawout and fixed type, ACB/MCCB circuit breakers/ switches; digital meter, C.T... etc.; BMS control and monitor provision, complete with all accessories | ALFANAR
ABB
SIEMENS LIMITED
Schneider Electric
SAUDI LUCY
Rawabi Electrical Company
Saudi Panels & Breakers Manufacturing Co.
Effective Power Factor
Abdullah H. Al-Shwayer Sons Factory
E14 | DISCONNECT SWITCHES
E14.a | Fused or Non-fused type; NEMA rated enclosures ( Heavy Duty Type ) | EATON
GE
Siemens
MEMF
Electrical Circuit Breaker Factory (ECB-MATCO)
Al Khalifah Factory For Metal Industries
ABB
Schnider
Saudi Panels & Breakers Manufacturing Co.
ALFANAR
E15 | GROUNDING/ LIGHTNING PROTECTION SYSTEM
E15.a | Grounding protection System Equipment & Accessorises, | FURSE
WALLIS
ERICO
Kingsmill
LEGRAND
Saudi Cable
Technical Principles For Mineral Industries
Saudi Modern Co. (Riyadh Cables)
E16 | PANELBOARDS
E16.a | Recessed, Surface load center and Floor Mounted panel boards For Lighting & Power . | ALFANAR
ABB
SIEMENS LIMITED
Schneider Electric
Al Khalifa Factory for
SAUDI LUCY
Electrical Panel Board Factory(EPBF)/HAWA Trading
EAST & West Factory
Advance Technical ,Solutions (MATCO )
USSG-United Tech for & S.Gear
Saudi Panels & Breakers Manufacturing Co.
Effective Power Factor
Rawabi Electrical Company
E17 | MOTOR CONTROL EQUIPMENT
E17.a | MOTOR CONTROL CENTERS - Wall / Floor Mounted MCC; drawout / fixed type breakers, complete with digital meter, contactor, starters, control transformer, indications light, switches, breaker ..etc. BMS Control and Monitor provision and MCP for motors and exhaust Fan,… etc. | ALFANAR
ABB Electrical
SIEMENS LIMITED
Schneider Electric
SAUDI LUCY
Saudi Panels & Breakers Manufacturing Co.
Effective Power Factor
Rawabi Electrical Company
E18 | INTERIOR LIGHTING
E18.a | LED-Recessed, surface, suspended and wall mounted lights (Down lights,Panel lights, 60x60 fixture,spot light, industral high bay /low bay, linear lights, stair lights, pendent ,batten light , bulk head Etc.) | SLC/Philips
NARDEEN
NOORTEK
AL NASSER PRO
Nassili Lighting
Rand Tech for Electronic Manufacturing
PAN Lighting Factory
Pioneers Systems
Al-Babtin\ Rayon
AZOOD
E18.b | Emergency lights & Emergency Sign Board | SLC/Philips
NARDEEN
NOORTEK
AL NASSER PRO
NASSSILI
PAN Lighting Factory
Al-Babtin\ Rayon
E18.c | LED-Auditorium Lightings/ Console | SLC/Philips
NARDEEN
NOORTEK
AL NASSER PRO
NASSSILI
PAN Lighting Factory
Al-Babtin\ Rayon
E19 | LIGHTING CONTROL SYSTEM
E19.a | Lighting Control Systems with Panel Boards,Energy Saving & Lighting Control system | EIB
KNX
ABB
Legrand
LG
LEVITON lighting control
Effective Power Factor
ALFANAR
E20 | EXTERIOR LIGHTING
E20.a | Flood Lights, Garden ligths, lawn Lights, Under ground lights , Underwater Lights, wall decorative lights, fence lighting , parking Lights, Landscape lighting Etc.. | SLC/Philips
NARDEEN
NOORTEK
Rand Tech for Electronic Manufacturing
PAN Lighting Factory
AL ADWAA
AZOOD
E20.b | roadway/street lights | SLC/Philips
Nardeen Lighting Co. Ltd.
AL NASSER PRO
Rand Tech for Electronic Manufacturing
AL ADWAA
PAN Lighting Factory
TECHNOFIBER
Pioneers Systems
Al-Babtin\ Rayon
AZOOD
E21 | LIGHTING POLES
E21.a | LIGHTING POLES | Saudi Co. fo Lighting Fixtures (SACLF)
SHAIRCO for Trading Industries
TAZEZ ADNANCE
Al-Ashoury Factory
AL ADWAA
Galvanco for Lighting Poles
Al-Babtain
Al Yamamah Electrical Poles’ Factory
OMEGA Factory
E22 | FIRE ALARM SYSTEM
E22.a | FACP,Graphical Annunciator, Heat/Smoke, beam Detectors, Anunciators,Modules, Switches, display,panels, Horn/Flasher, manual station, BMS, Interlock etc… | SIEMENS LIMITED
HONEYWELL
GENT
SIMPLEX
NOTIFIER
ZETA Company
E23 | RF WIRELESS CLOCK SYSTEM
E23.a | GPS Wireless clock system with synchronize(Analogue wireless) indication...etc…(Master Clock System) | MOBATIME
SAPLING
SIMPLEX
E24 | EXTERIOR TEL. CABLE DIST. SYSTEM
E24.a | Cat.6 flexible FR-PVC jacket and jelly insulation, and Polyethylene Pipes and fittings for telecommunication network | SAUDI CABLE COMPANY
RIYADH CABLES
AL ADWAA
MESC
Al-Jubail Saitary Pipe Factory Co. LTD.
E25 | EXTERIOR FIBER OPTICS CABLE
E25.a | Fiber Optic Cables, Single Mode Tera speed; with flame and water safety rating; with ST compatible connections, fiber optic cable multimode. | SAUDI CABLE COMPANY
AL ADWAA
MESC
RIYADH CABLES
E26 | STRUCTURED COMM. CABLING SYSTEM & COMM. SYSTEMS - GEN. REQUIREMENTS
E26.a | Data system active components voice syastem ,FFTP/SFTP LS0H CAT6A data/voice cable, RJ45 outlets & distribution hardware; Fiber optic cables, patch panels & acc… etc. | SAUDI CABLE COMPANY
AL ADWAA
MESC
RIYADH CABLES
E28.b | Data System active components | CISCO
AVAYA
AL ADWAA
NORTEL NETWORKS
E27 | PUBLIC ADDRESS & PRAYERS CALL SYSTEM
E27.a | Rack Mounted equipment, pre & power amplifiers, Mixer, CD/DVD, USB player, AM/FM Tuner, VHF wireless, Receiver tuner, microphones, speakers ceiling / wall mounted, cable / wires, .. etc. | TOA
PASO
PHIIPS
AEX
JVC
ESTAP
LG SYSTEM
E28 | ACCESS CONTROL SYSTEM
E28.a | Single/Multi door controllers, including proximity, card readers, Electronic door locks, indoor key switch, key pad and etc…, Cable/wires, .. etc. | KANTECH
Siemens
GE
HID
NOTIFIER
HONEYWELL
Saudi Ericsson Communications Company Limited
E29 | BMS SYSTEM
E29.a | Design for 2 way communication of monitoring and control, load shedding, for historic data achieving and management function for Electro- Mechanical available systems on the project. | SIEMENS
Rockwell
Honeywell
Schneider
ALFANAR
E30 | VARIABLE FREQUENCY DRIVE
E30.a | IGBT VFD, with 6 pulse active harmonic filter, complete motor control system And supplied by one manufacturer | Schneider
Danfoss
ABB
SIEMENS
Allen Bradley
EMERSON
E31 | ELEVATORS
E31.a | Passengers and fright elevators and Escalator | FUJITECH/KOREA
OTIS
Schindler
HYUNDI
SIGMA/L.G.
Mitsubishi